TOWN OF INDEPENDENCE
REQUEST FOR PROPOSALS
PROPOSAL INSTRUCTIONS AND CONDITIONS

   TOWN OF INDEPENDENCE
REQUEST FOR PROPOSALS
PROPOSAL INSTRUCTIONS AND CONDITIONS



TOWN OF INDEPENDENCE

NOTICE TO PERFORMANCE COMPANIES


GENERAL INFORMATION AND REQUEST FOR PROPOSALS FOR 
AN ENERGY EFFICIENCY AND WATER SYSTEM IMPROVEMENT PROJECT
The Town of Independence (the TOWN) is issuing this Request for Proposals (RFP) for the selection of an energy services company (ESCO) to implement an energy efficiency and wastewater system improvement project.  The proposals shall consist of qualifications, experience, financial proposal and staffing plan.

Interested companies can request a copy of the Request For Proposal from Buddy Halsey, Infrastructure Chairman at BHalsey@independenceva.com.

ESCO’s that are interested in being considered must submit an electronic proposal in response to this RFP on or before Wednesday, April 1st, 2026, 4 PM.

The successful ESCO will be determined solely from the Proposals. However, the TOWN reserves the right to interview all of the candidates if it so chooses.   

The proposal shall be addressed to:


Buddy Halsey, Chairman

Town of Independence

317 East Main Street

Independence, VA 24348

Email: BHalsey@independenceva.com
The TOWN reserves the right to amend the RFP based on questions and issues raised during the conduct of this solicitation.

Enclosures:

PROPOSAL INSTRUCTIONS AND CONDITIONS

APPENDIX A: PROPOSAL FORMS

APPENDIX B: CODE OF VIRGINIA, ENERGY PERFORMANCE BASED CONTRACTS
TOWN OF INDEPENDENCE

PROPOSAL INSTRUCTIONS AND CONDITIONS

REQUEST FOR PROPOSALS FOR A PERFORMANCE SERVICES PROJECT

I.
INTRODUCTION AND BACKGROUND
The objective of this Request for Proposals (RFP) is to solicit proposals for a performance project to assist the Town of Independence (the TOWN) in making the TOWN’s wastewater system infrastructure as efficient as practical through the installation of new equipment, energy conservation measures and implementation of optimally efficient operation and maintenance procedures.  The TOWN wishes to implement the proposed energy project on an energy performance contract basis.  (See Code of Virginia 45.2-1703), attached as Appendix B.

The TOWN will only consider performance contract proposals based on a guaranteed savings agreement, i.e. savings and/or guarantee payments will equal or exceed the cost of the lease payments or debt service.

It is expected that savings and/or guarantees provided by the ESCO selected pursuant to this RFP will fully offset the project costs involved for the TOWN.  Proposers should propose arrangements for acquisition, financing, and ownership of equipment to be installed as part of this project that responsibly maximize the net economic benefit to the TOWN or reduce the risk to the TOWN.

Proposers may include financing provided directly by the ESCO or through a third party where doing so will be advantageous to the TOWN.

II.
GENERAL INFORMATION
The qualifications, experience, financial terms and staffing plan (of ESCO’s proposing to implement this comprehensive performance services projects for the TOWN on a performance contracting basis) will be evaluated and ranked.  Written questions will be received by the TOWN until March 11, 2026 at 3:00 PM.  Questions shall ONLY be submitted to Buddy Halsey, Infrastructure Chairman via email at: BHalsey@independenceva.com.
The ESCO selected, as a result of this RFP will be expected to:

A.
Provide comprehensive performance services, including but not limited to:

1.
The performance of an investment quality comprehensive performance audit.  

2. The design and specification of the proposed equipment and systems.

3. Services associated with the procurement, installation, and commissioning of new equipment and systems.

4.
Preventive and emergency maintenance and servicing of the equipment installed.

5.
Staff training.

6.
Services in connection with the arrangement of program financing.

7.
Savings/revenue enhancements performance guarantees.

8.
The ESCO must work cooperatively with the TOWN staff in coordinating this project.

9.
Financial incentives and rate reductions available from companies supplying fuel oil, natural gas, electricity, or transmission and associated distribution services.

B. Identify measures that can be taken to reduce operating costs for all activities and energy sources including natural gas and electricity and to reduce consumption for heating, cooling, ventilation, refrigeration, lighting, water heating, and other systems in each facility. Measures may involve controlling, modifying, adding, or replacing equipment and systems.

The proposed contract resulting from the Comprehensive Audit shall include a table of the identified measures that clearly lists the costs and benefits of each measure to allow the TOWN to select the group of measures to be included in the final contract. 

C. Structure the terms of the TOWN 's obligation to pay for the services provided on a performance-contracting basis.  The savings and/or guarantees provided by the ESCO selected pursuant to this RFP will fully offset the project costs involved for the TOWN.

III.
THE SELECTION PROCESS
A.
Timetable
The TOWN expects to undertake the selection process according to the following schedule:

(
Deadline for receipt of written questions:
March 11, 2026
· Proposal Submission with a sample audit 
April 1, 2026
· ESCO interviews (at THE TOWN’s discretion)
April 18, 2026
· ESCO selection 
April 25, 2026
B. Proposal Evaluation Criteria

Upon review of proposals received in response to this RFP, the owner expects to select a single ESCO to provide comprehensive energy services as outlined in Section II above. If a viable project is identified following the comprehensive energy audit, the ESCO and the TOWN will then negotiate an energy performance contract to provide for the implementation of the proposed project.

Proposals will be evaluated and scored on the basis of the following criteria:

1.
Qualifications and Project Experience Rating
(Maximum 20 points)

(Proposal Sections 1 & 2)  
Points will be awarded based on demonstrated experience with similar projects as reported in the Statement of Qualifications and Experience and responses from project references.  Experience with similar projects will be understood to include development of performance contracts to furnish performance services in facilities similar to facilities in this project.
Only experience where the energy services company (ESCO) provided an energy savings guarantee will be viewed as applicable. Experience as a first tier subcontractor or sub-consultant to an ESCO will not be viewed as relevant. Also, experience as a Design-Build contractor that did not include an energy savings guarantee will not be considered relevant.

All references must be for the “responding ESCO” operating under its existing name and must be for the “responding ESCO” as a company. References will not be for an individual person, but for the Company as a whole.

ESCO must be accredited as an Energy Services Company by the National Association of Energy Service Companies (NAESCO), and be qualified by the U.S. Department of Energy as an Energy Service Company.

2.
Staffing Plan






(Maximum 15 points)

(Proposal Section 3)
Points will be awarded based on qualifications of proposed number of licensed and certified professionals (not including unrelated subcontractors), documented technical and project administration skills, licensure, certification and experience of the proposed project team.  Only those individuals proposed to work directly on the subject project should be included in the Staffing Plan.  Consistency of staff in the example projects and the proposed team should be ranked higher.  Also, project teams that are primarily or completely composed of staff from the proposer or related companies should be ranked higher.

ESCO’s that intend to self perform the installation services must fully disclose this intent. Note well that ESCO’s that intend to self-perform installation services must also obtain pricing from up to four companies for the supply and installation of the proposed equipment. The TOWN must be assured that they are receiving “fair market” pricing for all equipment and installation.  Opinions of cost or estimates from third-party companies will not be considered an adequate substitute for the above described pricing process.  The ESCO will have the option to self perform the work for the price of the lowest price obtained or to hire the contractor with the lowest price as a subcontractor.

3.
Technical Capability
(Maximum 20 points)

(Proposal Section 4)
Points will be awarded based on the quality and comprehensiveness of the technical approach, sample energy audit, description of the energy baseline methodology, and the approach to project management and subcontractor selection process.

4.
Financial Terms
(Maximum 30 points)


(Proposal Section 5)
The TOWN is interested in selecting an ESCO that conducts business with a philosophy of full disclosure of all project costs.  Construction mark-up will be the primary factor evaluated for the value brought to the TOWN by the proposed approach to project implementation. Consideration will be given to proposals that responsibly maximize the net economic benefit to the TOWN over the term of the energy services agreement, and that responsibly minimize the risk to the TOWN in connection with the proposed transaction.  

Factors that will be considered for purposes of providing the greatest net benefit to the TOWN include:
· Construction Mark-up per the Projected Implementation Costs form included in Section 5 of the proposal;

· The approach to project financing;

· The approach to procuring equipment, material and installation labor

Additionally, if alternative financing is proposed, the proposer's sources of financing and purchase option terms (both during the term of and at the end of the performance services agreement) will be considered.

5.
Proposed Project Schedule
(Maximum 5 points)

(Proposal Section 6)
Proposals will be evaluated on the reasonableness, clear presentation, length and detail of the proposed project schedule.  The proposal should include descriptions of how the proposer intends to achieve the project schedule.


6.
Official Statement of the Proposer



   (Maximum 5 points)

(Proposal Section 7)
7.
Interview (Option Reserved by The TOWN)                             (Maximum 5 points)

Interviews will be held with up to three top ranked ESCO’s to obtain clarification on issues raised by earlier stages of the evaluation process, and to assess the qualifications of the project team and its ability to implement all tasks and responsibilities in a prompt and efficient manner.  Scores assigned for proposals, under any category, may be amended based on information obtained during the oral interviews.  The proposed project team should be made available during the oral interview to discuss their individual experience, as well as their specific role in this project.

C.
Final ESCO Selection
The proposal with the highest combined total of awarded points from all members of the review team will ultimately determine the ESCO to be selected to implement the project.  The total maximum points per reviewer shall be 100.

The TOWN reserves the right to implement the project in multiple phases and award future phases to the ESCO selected via this RFP.

IV.
RFP PROCEDURES
A.
Point of Contact

Buddy Halsey via email at BHalsey@independenceva.com
B.
Submission of Proposal / Sample CEA
Electronic submissions should be e-mailed to BHalsey@independenceva.com, by 4 PM.
C.
Proprietary Information
Under The Code of Virginia, §2.2-4342, Public Inspection of Certain Records. 
Proprietary information from competing proposers (including any data on estimated man hours or rates and the plan for accomplishing the scope of work) will not be disclosed to the public or to competitors provided such information is duly marked as "Proprietary Information" by the Proposer and the designation is justified as required by §2.2-4342, Code of Virginia, as revised. 

D.
Modification or Withdrawal of Proposals
Any proposal may be withdrawn or modified by written request of the proposer, provided such request is received by the TOWN at the above address prior to the date and time set for receipt of proposals.

E.
Right to Reject Proposals
This RFP does not commit the TOWN to award a contract, pay any cost incurred in the preparation of a proposal in response to this RFP, or procure or contract for services.  The TOWN intends to award a contract on the basis of the best interest of and advantage to the TOWN, and reserves the right to accept or reject any or all proposals received as a result of this request.  The TOWN reserves the right to negotiate with all qualified proposers, or to cancel this RFP in part or in its entirety, if it is in the best interest of the TOWN to do so.

V.  PROPOSAL:  FORMAT AND CONTENTS
Proposals must be submitted in the format outlined in this section.  The TOWN reserves the right to eliminate from further consideration any statements deemed to be substantially or materially non-responsive to the requests for information contained herein.

Section 1 - Statement of Qualifications Proposer must include the following elements in response to this RFP:

(a)
Name and address of firm

(b) Telephone and fax numbers. 

(c) Names, titles, and e-mail address of two people authorized to represent the firm on this project, and answer any questions presented by the TOWN.

(d) Year firm was established.

(e) Quantity and type of licensed and/or certified professionals in office that will support this project. 
(f) Provide certificate stating that ESCO is accredited as an Energy Service Company by the National Association of Energy Service Companies (NAESCO). 

(g) Provide supporting documentation stating that the ESCO is qualified as an Energy Service Company by the U.S. Department of Energy.
Section 2 - Project Experience Proposer must describe three projects that best exemplify the range of technical services provided by the ESCO for a project similar to this one.  Projects where the ESCO did not provide an energy saving guarantee directly with the Owner are not considered relevant experience and should not be included. Each project description (not to exceed 2 pages) should include: 

(a)
Customer's name and address 

(b)
Total contract cost.

(c)
Type of contract; shared savings, guaranteed savings, no guarantee, etc.

(d)
Name and telephone number of references for the project. (TOWN presumes permission to contact).

(e)
Brief description of the project's scope of services and status. (Include type of facility at which project was implemented, whether the project was completed on the original schedule and whether significant problems occurred that affected project performance.  As appropriate, identify all prime contractors or subcontractors and their role in each project.)  This section should be used to demonstrate the firm’s experience in completing a project using the technologies relevant to the TOWN’s facilities.

(f)
Energy use and costs prior to project implementation.

(g)
Annual cost savings and annual levels actually achieved.

(h)
Identify members of the proposed project team involved with the sample projects and their current primary office location.

Section 3 – Staffing Plan This section should include a complete description of the individual experience and qualifications of the proposed project staff.  The staffing plan should include name, title, experience and relevant duties of each individual active in this specific project.  No credit will be granted during the evaluation process for the experience of anyone who will not be directly involved in implementing this project. Provide an organizational chart.
In addition, any subcontractors the ESCO intends to use for the project shall be identified and their role(s) described. Provide subcontractor’s name, address, contact person, phone number and relevant experience. 

Examples of subcontractors that shall be identified include but are not be limited to: 

(a) Energy auditing firm

(b) Architectural/engineering firm that will be responsible for project design

(c) Construction manager

(d) Construction contractors

Section 4 – Technical Capability

In a Section to be labeled Section 4-1, the proposal must explain the approach your organization will take in delivering the comprehensive technical services required to audit, design, install, commission and maintain the proposed energy efficiency improvements.  Describe the process to be followed in selecting and managing subcontractors. A comprehensive audit and design/specification documents are not required at this time.

In a Section to be labeled Section 4-2, describe the Comprehensive Audit that will be conducted for this project after selection of an ESCO on the basis of this RFP.  Your proposal must include information on the systems to be covered and the general method to be used.  Provide, as an attachment, an abridged copy of the Comprehensive Audit developed for one of the three example projects listed above.  The example audit provided should be similar to the Comprehensive Audit anticipated for this project.
A proposal audit is not requested or required at this time. Should such content be included in this response, it will not be scored as part of the evaluation.
In a Section to be labeled Section 4-3, describe in detail the method you will use to compute the baseline. Attach a sample computation from a previous project done by your firm, with full documentation of methods, assumptions and input data.

Section 5 - Financial Terms
The TOWN seeks to structure the project such that payments to finance the total project cost plus payments for ongoing incremental project maintenance and M&V services will be paid in full by the value of measured savings and/or revenue enhancements resulting from the project.  The proposer may propose any underlying project financing mechanism so long as it meets the objectives above and complies with Arizona State laws, rules, and regulations. 

The TOWN shall participate in the competitive bidding and selection of all construction contractors. Construction bids will be reviewed with the TOWN and contractor selection will be jointly determined between the ESCO and the TOWN.  The TOWN shall approve the bid documents and any subsequent addenda required prior to release.  If the proposer is intending to provide a portion or all of the construction utilizing their own personnel, the process by which the assurance of a competitive construction cost will be insured shall be described in detail.  None of the ESCO’s expenses and/or overheads shall be included in any way as part of the construction bids including subcontracting of typical ESCO project development activities.  A signed certification statement shall be required from the ESCO stating this is true. Refer to Section 7- Official Statement of Proposer.
For the purpose of calculating the construction mark-up percentages below, the unburdened construction cost shall be defined as the value of the final construction cost paid for facility improvements without any additional mark-up by the ESCO. Construction shall be defined as the cost of the facility improvement work and shall not include any of the activities listed on the Project Implementation Costs form in Appendix A. If the ESCO intends to use their own labor and/or materials, the unburdened construction cost shall be market price for those services.
Detailed financial information required in this Section includes the following estimated costs that are based on the information provided in this RFP.  This information shall be provided using the Project Implementation Costs form in Appendix A.

1. Energy Performance Project Implementation Costs:

(a) Comprehensive Energy Audit

Show costs b-l as a percentage of unburdened construction cost.

(b) Program Management & Planning

(c) Designs and specifications (Engineer of Record)

(d) Administration

(e) Cost of Risk

(f) Construction Management (including ESCO General Conditions)
(g) Hazardous Waste Administration

(h) Commissioning

(i) Training

(j) Profit

(k) Corporate Overhead

(l) Any other overhead costs 

Note:  The TOWN will not pay for any additional costs above the unburdened construction cost that are not identified in the proposal. Refer to Section 7 – Official Statement of Proposer. The ESCO shall be required to include cost of the TOWN personnel performing construction inspection activities as a reimbursable cost in the final contract. These inspection costs are not to be included in the above overhead costs or the construction cost. The cost of TOWN inspectors shall be defined during the Comprehensive Audit.

2.
Ongoing Performance Period Costs:

(a)
Annual Service/Maintenance Agreement costs

(b)
Annual Energy Savings Measurement and Verification costs

(c)
Other service fees (annual or otherwise - specify)

3.
Other project information:

(a) Escalation rate for annual Service/Maintenance Agreements

(b) Escalation rate for annual Measurement & Verification
(c) Escalation rate for energy costs

(d) Escalation rate for O & M costs

Section 6 – Proposed Project Schedule, 

The proposer must provide a complete program schedule for the completion of all major project milestones. The TOWN will only consider a contract schedule that commits the TOWN to pay for one milestone at a time. Please refer to the payment terms and conditions regarding frequency and documentation requirements for payment requisitions. Should the TOWN choose to terminate the project at the conclusion of any of the milestones, no additional compensation will be provided to the proposer other than the agreed fees through the completed milestone. The TOWN reserves the right to terminate the contract at any time, subject to the termination terms and conditions. Compensation for termination part way through a milestone will be based on the mutually agreed upon percentage of completion for the milestone at the time of the termination. The proposer must provide a complete schedule for achievement of all major project milestones and tasks. Tasks shall include, but not limited to, the following:

Milestone 1: Comprehensive Energy Audit

Task 1.1: Commencement and completion of Comprehensive Audit.

Milestone 2: Project Development

Task 2.1: Design phase including design & specification documents

Task 2.2: Subcontractor pricing & selection

Task 2.3: Preparation and execution of final performance contract documents.

Milestone 3: Construction

Task 3.1: Obtaining all required permits and government approvals.

Task 3.2: Procurement of all major equipment.

Task 3.3: Construction phase including, kickoff through completion. 

Task 3.4: Startup and commissioning.

Task 3.5: Training of facility personnel.

Task 3.6: Commencement of normal operations.
Section 7 - Official Statement of Proposer, the proposer must check the box, sign and include this statement. Statement must be signed by an individual authorized to bind the respondent:

(a) The proposer shall include a statement to the effect that the proposal is a firm offer for a minimum 120-day period.  The proposal shall also provide the: name, title, address, and telephone number of individual(s) with authority to negotiate and contractually bind the company and also who may be contacted during the period of proposal evaluation.

Name:
______________________________________________

Title: 
______________________________________________

Address:
______________________________________________

Phone: 
______________________________________________

(b) The ESCO accepts, and intents to comply with, the appropriate sections of the law and applicable regulations that address performance contracting.
(c) The ESCO hereby confirms that none of the their expenses, overheads, fees, profits shall be included in any way as part of the unburdened construction cost as defined in Note 1 of the attached Project Implementation Cost Form. 

(d) The ESCO hereby agrees to transparently disclose the unburdened construction cost as defined in Note 1 of the attached Project Implementation Cost Form with each of the ESCO’s pay applications. To document this obligation, the ESCO shall provide actual signed subcontractor invoices (as backup) with each ESCO invoice. 

(e) This signed statement shall assure to the Owner that the only compensation that will be paid to the ESCO, will come from the ESCO costs included on the attached Project Implementation Cost Form. The Owner will not pay any ESCO fees, expenses, overheads, or profits in addition to those included on the Project Implementation Costs form attached. 

(f) The ESCO shall include this statement acknowledging that some (or all) construction will be required to take place on other than first shift (to ensure that facility schedules will not be interrupted by construction activities) and that additional costs incurred by either the Owner, the contractor, or both shall be included in the project costs. 

(g) The Owner must be assured that they are receiving “fair market” pricing for all equipment and installation. The ESCO agrees to obtain pricing from up to four companies for the supply and installation of the proposed equipment. ESCO’s that intend to self-perform the installation services must fully disclose this intent and must include certified payroll.
I, ______________________________ certify that the above information is true and accurate.

(print name and title)

_____________________________________

_________________________

Authorized Signature





Date

APPENDIX A
PROPOSAL FORMS

[image: image1.wmf]Comprehensive Energy Audit

$

Unburdened Construction Cost 

(1)

Less than 

$1,000,000

$1,000,000 to 

$3,000,000

Greater than 

$3,000,000

Program Management and Planning

%

%

%

Design and Specifications (Engineer of Record)

%

%

%

Administration

%

%

%

Cost of Risk

%

%

%

Construction Management and ESCO General Conditions

%

%

%

Hazardous Waste Administration

%

%

%

Commissioning

%

%

%

Training

%

%

%

Profit

%

%

%

Corporate Overhead

%

%

%

Other: 

%

%

%

Total

%

%

%

Annual Service/Maintenance Agreement Cost

$

$

$

$

$

$

Other Service fee

$

$

$

Other Project Information

Escalation rate for Service/Maintenance Agreements

%/yr

%/yr

%/yr

Escalation rate for M&V

%/yr

%/yr

%/yr

Escalation rate for Energy

%/yr

%/yr

%/yr

Escalation rate for O&M Savings

%/yr

%/yr

%/yr

Project Implementation Costs

Note 2.  The mark-ups listed above shall be the only cost that will be allowed to be added by the ESCO to the 

unburdened construction cost. The total project cost will be the addition of the unburdened construction cost and the 

value of the above listed mark-ups. Proposer must include the signed affidavid as required in the RFP.

Note 1.  The unburdened construction cost shall be defined as the value of the actual construction cost paid by the 

ESCO to its subcontractor(s)  for the supply and installation of energy conservation measures without any additional 

markups by the ESCO. The mark-ups listed above shall not be included in the value of the unburdened construction 

cost.

Annual Energy Savings Measurement & Verification

Construction Mark-up 

(2) 

(as a % of total unburdened construction cost)

Ongoing Project Management Costs


APPENDIX B
Code of Virginia

Title 42. Contracts

Chapter 17. Energy and Operational Efficiency Performance-Based Contracting Act

§ 45.2-1703. Energy Performance-Based Contract Procedures; required contract provisions

A. Any contracting entity may enter into an energy performance-based contract with an energy

performance contractor to significantly reduce (i) energy costs to a level established by the public body or (ii) operating costs of a facility through one or more energy conservation or operational efficiency measures. For the purposes of this article, energy conservation or operational efficiency measures shall not include roof replacement projects, except as provided in subdivision B 2.

B. 1. The energy performance contractor shall be selected through competitive sealed bidding or competitive negotiation as set forth in § 2.2-4302.1 or 2.2-4302.2. The evaluation of the request for proposals shall analyze the estimates of all costs of installation, maintenance, repairs, debt service, post-installation project monitoring, and reporting. Notwithstanding any other provision of law, any contracting entity may purchase energy conservation or operational efficiency measures under an energy performance-based contract entered into by another contracting entity pursuant to this article even if it did not participate in the request for proposals if the request for proposals specified that the procurement was being conducted on behalf of other contracting entities.

2. A contracting entity may procure a roof replacement as part of a larger energy conservation or operational efficiency measure, including solar, where the replacement is necessary for the

installation of such measure. Such contracting entity may also procure a roof replacement

pursuant to § 2.2-4302.1 when the original contract for the energy conservation or operational

efficiency measure, including solar, does not include a roof replacement and the contracting

entity determines that the replacement of more than 20 percent of the roof is necessary for the

installation of such measure. Such roof replacements procured separately from a larger energy

conservation or operational efficiency measure, including solar, shall also be publicly noticed on

the Department of General Services' central electronic procurement website. All roof

replacement projects procured separately pursuant to this subdivision shall be designed by a

licensed architect or professional engineer.

C. Before entering into a contract for energy conservation measures, the contracting entity shall

require the performance contractor to provide a payment and performance bond relating to the

installation of energy conservation measures in an amount the contracting entity finds

reasonable and necessary to protect its interests.

D. Prior to the design and installation of any energy conservation measures, the contracting

entity shall obtain from the energy performance contractor a report disclosing all costs

associated with such energy conservation measures and providing an estimate of the amount of

the energy cost savings. After reviewing the report, the contracting entity may enter into an

energy performance-based contract if it finds (i) the amount the entity would spend on the saved in energy and operation costs more than 20 years from the date of installation, based on

life-cycle costing calculations, if the recommendations in the report were followed and (ii) the

energy performance contractor provides a written guarantee that the energy and operating cost

savings will meet or exceed the costs of the system. The contract may provide for payments over a period not to exceed 20 years.

E. The term of any energy performance-based contract shall expire at the end of each fiscal year but may be renewed annually for up to 20 years, subject to the contracting entity making

sufficient annual appropriations based upon continued realized cost savings. Such contract shall

stipulate that the agreement does not constitute a debt, liability, or obligation of the contracting

entity, or a pledge of the faith and credit of the contracting entity. Such contract may also

provide capital contributions for the purchase and installation of energy conservation measures

that cannot be totally funded by the energy and operational savings.

F. An energy performance-based contract shall include the following provisions:

1. A guarantee by the energy performance contractor that annual energy and operational cost

savings will meet or exceed the amortized cost of energy conservation measures. The guaranteed energy savings contract shall include a written guarantee of the qualified provider that either the energy savings or operational cost savings, or both, will meet or exceed within 20 years the costs of the energy and operational savings measures. The qualified provider shall reimburse the contracting entity for any shortfall of guaranteed energy savings projected in the contract.

2. A requirement that the energy performance contractor to whom the contract is awarded

provide a 100 percent performance guarantee bond to the contracting entity for the installation

and faithful performance of the installed energy savings measures as outlined in the contract

document.

3. A requirement that the energy performance contractor provide to the contracting entity an

annual reconciliation of the guaranteed energy cost savings. The energy performance contractor shall be liable for any annual savings shortfall that may occur.

G. The Department shall make a reasonable effort, as long as workload permits, to:

1. Provide general advice, upon request, to local governments considering pursuit of an energy

performance-based contract pursuant to this article; and

2. Annually compile a list of performance-based contracts entered into by local governments of

which the Department becomes aware.

2001, c. 219, § 11-34.3; 2004, c. 197;2009, c. 399;2013, c. 583;2017, c. 259;2021, Sp. Sess. I, c. 387;

2022, cc. 465, 466.

The chapters of the acts of assembly referenced in the historical citation at the end of this

section(s) may not constitute a comprehensive list of such chapters and may exclude chapters

whose provisions have expired.
1. Provide general advice, upon request, to local governments that wish to consider pursuit of an energy performance-based contract pursuant to this section;

2. Annually compile a list of performance-based contracts entered into by local governments of which the Department may become aware.

2001, c. 219;2004, c. 197;2009, c. 399;2013, c. 583;2017, c. 259.

The chapters of the acts of assembly referenced in the historical citation at the end of this section may not constitute a comprehensive list of such chapters and may exclude chapters whose provisions have expired.

1
12
4

